## Slide 1: High Availability Strategy
September 29, 2014
Improving Service Through Diversification

## Slide 2: Our High Availability Strategy
High availability: Establish a structure that ensures a sustainable, robust, and secure network/infrastructure/data center with the following components:
  Implementation and operation, including a lifecycle model;
  ; and
  Disaster recovery
  Location diversity

## Slide 3: Our Goals
Minimize disruptions & unplanned service downtime
Avoid utility outages and system failure
Improved Recovery Time Objective (RTO)
Improved Recovery Point Objective (RPO)

## Slide 4: Our High Availability Strategy Is Not…
A specific technology
One-size fits all
A pure infrastructure problem
Over-engineering
Data backup strategy

## Slide 5: Our Approach
Location diversity
Initial focus on large academic systems (HuskyCT, SA)
Redundant systems
Data(base) replication
Eliminate single points of failure
Virtualize to minimize footprint

## Slide 6: Locations
2 locations on the Storrs campus
Paired data centers, joined by layer 2-adjacent network
Primary location: MSB Data Center
Secondary location: Homer Babbidge Library (HBL) Data Center
  Future expansion (5E phone switch room)

## Slide 9: Topology of Storage Layout

## Slide 10: Current Equipment
IBM H-Series Blade Center Chassis
  6 IBM HS23 Blades
IBM Power 750 Express server
138 TB block storage
1 Gbps network links to BladeCenter (10 Gbps network infrastructure)
VMWare VSphere 5.1 update 2

## Slide 11: Timeline
Currently: Exchange
October:
  HuskyCT
  FlexLM
November:
  Student Admin
  Active Directory
  CAS/LDAP
December:
  Mail Infrastructure
Moving Forward
  Aurora
  Splunk

## Slide 12: Issues and Unknowns
Data replication
Firewall single point of failure
Backups
Failover/Fail-back scenarios
Application Capabilities

## Slide 13: Questions?